## NE213
NE-213 cup detector				delta
Bias V	current uA	counts	rate /s	(rate of change)
1400.2	182.45	249	1.38
1450.2	192.00	505	2.81	1.42
1500.2	201.60	1156	6.42	3.62
1550.2	211.20	2817	15.65	9.23
1575.2	216.00	10619	58.99	43.34
1600.2	220.75	56483	313.79	254.80
1650.2	230.25	343126	1906.26	1592.46
1700.2	239.80	624499	3469.44	1563.18
1750.2	249.35	813343	4518.57	1049.13
1800.2	258.90	954277	5301.54	782.97
1850.2	268.45	1068291	5934.95	633.41
1900.4	277.95	1156331	6424.06	489.11
1950.4	287.70	1240492	6891.62	467.56
2000.2	297.30	1306375	7257.64	366.02
2050.4	306.90	1334456	7413.64	156.01
2100.4	316.55	1396126	7756.26	342.61
2150.4	326.20	1467171	8150.95	394.69
2200.4	336.05	1524339	8468.55	317.60
2250.4	345.55	1607037	8927.98	459.43
2300.4	355.05	1690206	9390.03	462.05

Settings
Visual scaler	CAEN N1145
CFD	PS 715
CFD threshold	25 mV
Real time	3 min
Source	Cs-137 (662 keV)
Detector	NE-213 “cup”
Powersupply	CAEN 4ch NIM/Desktop programmable
Current limit	360 uA
Date	2019-03-15
NE-213, "cup"
current measurement
Bias [V]
Current [uA]
NE-213, "cup"
Slope of rate
Bias [V]
Slope of rate [s-1]
NE-213, "cup"
bias measurement
Bias [V]
Rate [s-1]

## EJ305
EJ-305 cup detector				delta
Bias V	current uA	counts	rate /s	(rate of change)
1400.2	184.90	2251	12.51
1425.2	189.70	21685	120.47	107.97
1450.2	194.40	164768	915.38	794.91
1500.2	203.90	538346	2990.81	2075.43
1550.2	213.45	771593	4286.63	1295.82
1600.2	223.00	935181	5195.45	908.82
1650.2	232.50	1064091	5911.62	716.17
1700.2	242.10	1171246	6506.92	595.31
1750.4	251.65	1258332	6990.73	483.81
1800.4	261.25	1321333	7340.74	350.01
1850.2	270.80	1380851	7671.39	330.66
1900.4	280.40	1427145	7928.58	257.19
1950.4	289.95	1466953	8149.74	221.16
2000.2	299.55	1499878	8332.66	182.92
2050.4	309.20	1528607	8492.26	159.61
2100.6	318.85	1553898	8632.77	140.51
2150.4	328.50	1586895	8816.08	183.32
2200.6	338.20	1629590	9053.28	237.19
2250.4	347.9	1682266	9345.92	292.64
2300.4	357.65	1755017	9750.09	404.17

Settings
Visual scaler	CAEN N1145
CFD	PS 715
CFD threshold	25 mV
Real time	3 min
Source	Cs-137 (662 keV)
Detector	EJ-305 “cup”
Powersupply	CAEN 4ch NIM/Desktop programmable
Current limit	360 uA
Date	2019-03-19
EJ-305, "cup"
current measurement
Bias [V]
Current [uA]
EJ-305, "cup"
Slope of rate
Bias [V]
Slope of rate [s-1]
EJ-305, "cup"
bias measurement
Bias [V]
Rate [s-1]

## Comparison
Rate vs bias
comparison
Bias [V]
rate [s-1]