Run plan: QDC sctintillators (2019-03-18)

Tests with scintillator cups (several different) with TOF analog setup. Get QDC spectrum, and calibrate to MeVee with gamma sources.

Material:
- Neutron source (AmBe or PuBe) Cf?
- Gamma sources: Na-22 and Cs-137
- Aquarium and TOF DAQ (analog)
- Scintillator cups

Procedure:
1) Determine CFD threshold (ideas where to put it?)
2) Run EJ-321P
3-...) Run with other cup types

Results:
- To get QDC spectrums for each scintillator
- Gain calibration of each scintillator (MeVee)

Estimated time:
Setup: 2h
Test/verification/modification: 2h
Run: Prob 1 week for all cups (ca 24h each)